## Cover Sheet
Evergreen 3.0 Project Plan (v1.2)
Date EPP was submitted to Commerce:
Project Name:
Project Address:
Organization Name:
Evergreen Coordinator:
Evergreen Coordinator phone:
Evergreen Coordinator email:
HTF Contract Number:
Project Type:
If the project includes new construction and rehab, please write a brief description of the scope:
Location:
Number of units:
number of occupants & population type:
# of buildings & # of stories
Residential square footage:
Rehab projects answer the following:
Year the building was built:
Space heating type to be replaced:
Water heating type to be replaced:
Window U Values (if known):
Wall, Attic, floor insulation values (if known):
For Commerce Staff Use- Date log for approved and revised EPP
Note on A13: Project Type (one form required per Type): If the project is both new construction and rehab you will need to fill out two EPP forms and achieve the required minimum points for both. For definitions, see the Glossary in the ESDS which begins on page 103.
Note on A15: Location (Rural v Urban): For definitions of urban and rural, see the Glossary in the ESDS which begins on page 103.
Note on A16: Number of Units (include manager): include manager's unit if applicable
Note on A17: # Occupants and Population Type (example): 10 units for individuals with developmental disabilities, 5 units for low-income families, 1 restricted manager's unit.

## New Construction
Criteria | Instructions | Points Claimed | Intended Method to Satisfy | Points Awarded
Section 1
1.1a | Mandatory Attach the Green Development Plan
1.1b | Up to 10 Points State the Option(s) chosen. In addition: Option #1 - Attach energy and water modeling documentation and a narrative explaining how these services informed decisions about design, construction and post-occupancy. Option #2 - Attach the life cycle cost analysis. Use the LCCA tool provided on ESDS websites. In addition, include a narrative detailing how the design team incorporated the use of the tool into their process, how, or if, design decisions were influenced by the process of using the tool, and suggestions for enhancements to the tool. Option #3 - State that a 25-year CNA was provided with your funding application. If not, provide the report.
1.2 | Up to 3 Points State which option will be incorporated and list the features
1.3a | Mandatory State: (1) Which ESDS criterion will require Performance Verification. (2) Construction documents will include the Performance Verification requirements. (3) The installer will provide written verification that the systems operate as required, available on the jobsite. (4) Post installation, the Evergreen Coordinator, or independent consultant, will conduct performance testing & provide a summary report, available on the jobsite.
1.3b | Up to 12 Points State: (1) Which applicable systems will be included in the commissioning plan. (2) That a final commissioning report will be submitted to the Commerce’s Third Party Verifier upon completion. (3) The architect and MEP consultants will develop a Basis of Design (BOD) that will meet the Owner’s Project Requirements (at a minimum, the performance requirements established in 1.1); (4) Commissioning requirements will be incorporated into the construction documents.
1.4 | 3 or 6 Points Option #1 - attach a description of how the project design team intentionally developed spaces or features that help residents develop an inclusive sense of community and cultivate meaningful support networks. Describe the plan that on-site staff will follow to encourage residents to use the spaces as intended. Option #2 - attach a description for how the resident population will participate in discussions regarding the sustainability of the project. Describe how the advisory board or governance structure will be formed, who will be responsible for managing the process, and how the resident population might participate.
Section 1 Subtotal |  | 0
Section 2
2.1 | Mandatory Attach documentation from the local jurisdiction stating the zoning for the property, identification of any known critical areas or resource lands within 300 feet and any resulting development restrictions.
2.2 | Mandatory for Urban, 2 points for Rural Attach a clear and detailed Site & Vicinity Map with explanations. Clearly label and indicate on the map the areas specific to this criterion.
2.3 | Mandatory Attach the architect’s density calculation and statement of correctness.
2.4 | 5 points Attach the architect’s density calculation and statement of correctness.
2.5 | Mandatory and option for 5 points State which option(s) chosen. Option #1 - Attach a context map demonstrating that the center of the site is within the required walk distances of the required number of services. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information. Option #2 - Attach a context map to demonstrate that the center of the site is within the required distance of transit options. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information.
2.6 | Mandatory State the option chosen and how the design will meet the requirement. Attach a clear and detailed Site & Vicinity Map and indicate on the map the areas designated as open space for residents. Open space does not include streets, roadways, or tenant private outdoor areas, or areas inaccessible to residents.
2.7a | Mandatory for Urban only Attach a site map clearly illustrating the existing and proposed sidewalks and all-weather pathways and where they lead to.
2.7b | Rural & Tribal projects only, 3 or 5 points State how many separate connections the project will provide. Attach a site map demonstrating at least three separate connections to sidewalks or all-weather pathways in surrounding neighborhoods.
2.8 | 2 points State which two measures will be used and describe the implementation plan. If choosing car-sharing services or bicycle racks/storage, attach a site map identifying the space that will dedicated for the amenities.
2.9 | 5 points Provide a description and explanation that confirms the type of site.
2.1 | 3 points (1) State which option the project will provide. (2) Attach a detailed plan of how the requirements will be met. (3) If selecting Options 1a or 1b, attach a site map identifying the growing space.
Section 2 Subtotal |  | 0
Section 3
3.1 | Mandatory State the conclusion of the ESA Phase 1 and that it was submitted with your application for funding. If you did not submit your ESA with your funding application, then attach it to the EPP.
3.2 | Mandatory State which BMP or local controls will be incorporated into the construction and site development plans and contracts. The actual erosion measures that will specifically be used on the site.
3.3a | Mandatory if providing landscaping Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 50% or more of the landscaped area as native and/or adaptive species.
3.3b | 5 points Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 100% or more of the landscaped area as native and/or adaptive species.
3.3c | up to 5 points State the number of trees and DBH of each. State that the project will not build within the drip line of the significant trees. Attach the arborist report which evaluates each significant tree’s life expectancy, health, future maintenance needs and safety. Attach a brief explanation regarding the property maintenance plan for the significant trees, given the arborist report conclusions. Attach a landscape plan showing existing significant trees, which trees are being preserved, and their relation to the building(s).
3.4 | Mandatory if installing irrigation State that drip and/or bubbler irrigation system will be used for all landscape planting beds and trees. State that turf and each type of bedding area will be separately zoned based on watering needs with a programmed zone manifold and/or timer/controller. State that a controller designed to eliminate irrigation overwatering will be installed.
3.5 | up to 6 points Attach the precipitation data location used, the appropriate rainfall event size, a site plan showing the total generating surfaces and calculated area for the project, and describe design features that will be implemented to meet the requirements, with an affidavit affirming that the design is sized to accommodate the target rainfall event - from the qualified design professional responsible for the design calculations.
3.6 | Mandatory State commitment to label all storm drains and inlets.
Section 3 Subtotal |  | 0
Section 4
4.1a | Mandatory State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. Toilets – 1.28 GPF (gallons per flush) or less. WaterSense labeled with MaP test performance at minimum 500g, Urinals- 0.5 gpf or less, WaterSense labeled, Showerheads – 2.0 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1.5 GPM or less, WaterSense labeled, Kitchen faucets – 2.0 GPM or less
4.1b | up to 6 points *must also achieve 4.4* State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. State that the project will comply with ESDS 4.4. Toilets – 1.1 GPF (gallons per flush) or less. or a toilet with dual flush, one of the options being less than 1 GPF, 500gWaterSense labeled, Showerheads – 1.75 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1 GPM or less, WaterSense labeled, Kitchen faucets – 1.75 GPM or less
4.2 | 2 points Attach a description of how sub-meter data will be tracked, who will be responsible for monitoring it, and how the data will be used (direct billing or back-charging residents for water/sewer costs, providing consumption feedback for conservation assistance, leak detection and isolation, etc.) For rehab only, if metering each dwelling unit is not feasible, attach an optimal measuring proposal.
4.3 | up to 12 points Option #1 - State how the design will meet the requirement; how these details will be communicated to the plumbing contractor; and how they will be verified as compliant at construction. Option #2 - State the percentage of the project’s water needs that will be supplied by rainwater and/or greywater. Also, attach an explanation of how the project’s total water need was determined and describe the design features (including cistern sizing calculation) that will be implemented to achieve the stated percentage.
4.4 | 7 points State how the design will meet the requirement; how the details will be communicated to the plumbing contractor: how proper installation will be confirmed.
Section 4 Subtotal |  | 0
Section 5
5.1a | Mandatory For Single Family Homes, duplexes, townhomes or multifamily buildings three stories or less: State the additional credit chosen from the 2015 WSEC Table R406.2, Energy Credits. OR Attach the 2015 WSEC section R405.3 Performance-based compliance cover sheet demonstrating an additional 7% reduction in energy use compared to code. Multifamily buildings greater than three stories: State the additional credit chosen from the 2015 WSEC C406—Additional efficiency package options. OR, Attach the 2015 WSEC section C407.3—Performance-based compliance cover sheet to demonstrate and additional 4 % reduction in energy use compared to the code.
5.1b | Rehab Only
5.2a | 5-25 points For the prescriptive energy credits approach, attach documentation showing the energy credits used to meet code and the added energy credits to achieve additional energy savings. For the performance based approach, use the analysis methodology required by code. Demonstrate that the proposed design will provide additional % reduction in energy use compared to code and ESDS 5.1a.
5.2b | Rehab Only
5.3 | 4 points Attach documentation that shading devices on the building will provide the described solar access and shading. Include an illustration demonstrating shading at the required date and times.
5.4 | Mandatory for all projects providing appliances State that all clothes washers, dishwashers & refrigerators will be Energy Star. Do not send in product literature or spec sheets.
5.5 | 3 points State that the project will provide ENERGY STAR-labeled centralized laundry facilities and will not install in-unit washers or dryers or hook-ups. Facilitate on-site verification by the third party verifier.
5.6 | Mandatory State that 90% of lighting shall be fitted with LED luminaires or lamps. Do not send in product literature or spec sheets with the EPP.
5.7a | Mandatory State the commitment to install individual or a sub-metered electric meter for each individual unit.
5.7b | Rehab Only
5.8a | Rehab Only
5.8b | 1 point (1) Explain the plan including orientation, unobstructed exposure, conduit route and location of terminations. (2) Attach the design and engineering analysis that establishes the parameters of the installation that demonstrate the following: ● Orient buildings to permit access to sunlight ● design and include south facing architectural elements on the roof for PV reserve unobstructed roof areas where panels can be placed ● run conduit from the prospective PV location to a central panel, as part of the general electrical work ● do not install wire inside the conduit until the photovoltaic panels are installed.
5.8c | Rehab Only
5.9 | Mandatory State the type of fuel, tank size, energy factor, and standby loss as applicable. Do not send in product literature or spec sheets.
5.1 | Rehab Only
5.11 | Rehab Only
5.12 | Rehab Only
5.13 | Rehab Only
Section 5 Subtotal |  | 0
Section 6
6.1 | Mandatory State that all interior paints and primers will meet the standard.
6.2 | Mandatory State that all interior adhesives will comply with the most recent version of Rule 1168 of the South Coast Air Quality Management District.
6.3 | up to 5 points State the method chosen and that the approved contractor submittal of the construction waste plan will be available on the job site specifying how reusable/recyclable materials are redirected from the landfill and where each material goes. Also state that waste receipts will be available on the job site.
6.4 | up to 10 points Attach the list of environmentally preferable materials that will be used and note the specification requirement and/or the local production requirement.
6.5a | 2 points State which option is chosen. Also attach roof map showing all roofing areas with the type of roof specified. Clearly label and indicate on the map the areas specific to this criterion.
6.5b | 2 points if providing paving State that light-colored/high-albedo materials and/or an open-grid pavement, with a minimum Solar Reflective Index of 0.3 over at least 50 percent of the site’s hardscaped area will be used. Attach a map of all paved areas showing the portion that will reduce the heat-island effect and the type of material.
6.6 | up to 3 points State the socially sustainable products that will be used. Attach an explanation of each manufacturer, the product used in the project, and how they support a broader socially sustainable mission. Provide a website supporting your information or written documentation from the manufacturer with their contact information. Documentation will be provided to Commerce after construction bid.
Section 6 Subtotal |  | 0
Section 7
7.1 | Mandatory State that all particleboard, plywood, OSB, medium density fiberboard, cabinetry and any other applicable wood products will contain no added urea-formaldehyde and/or will be compliant with CARB Phase 2.
7.2a | Mandatory If providing floor coverings State what floor coverings will be used and where and that they will meet the requirements of this criteria.
7.2b | 6 points State that in all rooms, carpet or flooring containing PVC or chlorine will not be installed.
7.3a | Mandatory State Energy Star bathroom fans including how they will be controlled.
7.3b | Moderate Rehab only
7.4a | Mandatory state that Energy Star kitchen fans will be installed and vented to the outside. Do
7.4b | Rehab only
7.5 | Mandatory State that whole-house ventilation will be installed according to section 403 of the 2015 WSEC. State the size of fan, how the size was determined, the location, and how it is controlled. State that the installer report of performance testing will be available on site for the Third Party Verifier to review.
7.6 | Mandatory State that clothes dryers will be exhausted to the exterior using rigid-type ductwork (from the connection point to the exterior exhaust), except for condensing and heat pump dryers, which must be plumbed to a drain.
7.7 | Mandatory State that there will be direct power vented or combustion sealed fossil fuel fired water heaters when in the conditioned space.
7.8 | Mandatory State that there will be smooth, durable, cleanable, water-proof surfaces in all wet areas.
7.9 | Mandatory State which materials for tub and shower enclosures will be used.
7.1 | Mandatory State the vapor barrier strategies that will be used in the project.
7.11 | Mandatory State whether the project is in a high risk radon county. If so, list the radon mitigation measures that will be installed. Facilitate post testing and ensure documentation verification is reviewed by the third party verifier.
7.12 | Mandatory State that all water drainage measures listed in this criterion will be followed. Note: For rehab, all measures which apply to the scope of work are required.
7.13a | Mandatory State that the building envelope design will make it possible to remove and replace windows without compromising the performance of the building envelope.
7.13b | up to 8 points State the option(s) chosen and how the objective will be achieved. State that inspection reports and photos of any mockups will be available on job site.
7.14 | Mandatory State that there will be a continuous air tight barrier between the living space and an attached garage, how it will be achieved, and the number of placements of CO monitors as necessary.
7.15 | Mandatory State that sealing of all penetrations will be done and include what materials will be used to prevent pest and rodent entry.
7.16 | Mandatory State the year when the buildings were constructed. For structures built before 1978, state that lead-safe work practices will be followed. Also state that the contractor performing the will must be Renovation, Repair and Painting certified at a minimum.
7.17 | Mandatory State that a smoke-free policy (including e-cigarettes) in all common and individual living areas, including decks and patios, in unit leases and within 25 feet of building entries or ventilation intakes (including operable windows) will be implemented and enforced. Also state that the lease language will prohibit smoking in these locations and that it is a violation of the lease to smoke. Provide a copy of the lease in the on-site binder for the Third Party Verifier to review on-site.
Section 7 Subtotal |  | 0
Section 8
8.1a | Mandatory State that a copy of the Building Maintenance Manual and the Unit Turnover Plan will be submitted to Commerce before the project is completed. State the estimated date of submittal. State the date the walk-through and orientation will be completed.
8.1b | 7 points State that the Building Operations and Maintenance instructions that will be permanently affixed to the building. State that the requirements regarding the location, instructions and walk-through will be followed.
8.2 | Mandatory State that the Emergency Management Manual will be submitted to Commerce before the project is completed and the estimated date of submittal.
8.3 | Mandatory State that the Resident Manual will be submitted to Commerce before the project is completed; include an estimated date of submittal. State how the orientations will be completed with new tenants and the plan for orientation at turnover. State that a record of the orientation will be submitted to Commerce after project development is completed and at least 90% occupied. The record should include the date of the orientation, who in each household received the orientation, and who on the management team gave the orientation; include an estimated date of submittal.
8.4 | Up to 8 points State which option chosen. State that the property management staff will collect and monitor project performance data on energy, water, and, if possible, healthy living environments for a minimum of five years and provide that information to Commerce.
8.5 | Mandatory State that educational signage and/or educational material will be provided onsite.
Section 8 Subtotal |  | 0
|  | 0 | TOTAL

## Mod Rehab
Criteria | Instructions | Points Claimed | Intended Method to Satisfy | Points Awarded
Section 1
1.1a | Mandatory Attach the Green Development Plan
1.1b | Up to 8 Points State the Option(s) chosen. In addition: Option #1 - Attach energy and water modeling documentation and a narrative explaining how these services informed decisions about design, construction and post-occupancy. Option #2 - Attach the life cycle cost analysis. Use the LCCA tool provided on ESDS websites. In addition, include a narrative detailing how the design team incorporated the use of the tool into their process, how, or if, design decisions were influenced by the process of using the tool, and suggestions for enhancements to the tool.
1.2 | Up to 3 Points State which option will be incorporated and list the features
1.3a | Mandatory State: (1) Which ESDS criterion will require Performance Verification. (2) Construction documents will include the Performance Verification requirements. (3) The installer will provide written verification that the systems operate as required, available on the jobsite. (4) Post installation, the Evergreen Coordinator, or independent consultant, will conduct performance testing & provide a summary report, available on the jobsite.
1.3b | Up to 12 Points State: (1) Which applicable systems will be included in the commissioning plan. (2) That a final commissioning report will be submitted to the Commerce’s Third Party Verifier upon completion. (3) The architect and MEP consultants will develop a Basis of Design (BOD) that will meet the Owner’s Project Requirements (at a minimum, the performance requirements established in 1.1); (4) Commissioning requirements will be incorporated into the construction documents.
1.4 | 3 or 6 Points Option #1 - attach a description of how the project design team intentionally developed spaces or features that help residents develop an inclusive sense of community and cultivate meaningful support networks. Describe the plan that on-site staff will follow to encourage residents to use the spaces as intended. Option #2 - attach a description for how the resident population will participate in discussions regarding the sustainability of the project. Describe how the advisory board or governance structure will be formed, who will be responsible for managing the process, and how the resident population might participate.
Section 1 Subtotal |  | 0
Section 2
2.1 | Mandatory Attach documentation from the local jurisdiction stating the zoning for the property, identification of any known critical areas or resource lands within 300 feet and any resulting development restrictions.
2.2 | New Construction Only
2.3 | Mandatory Attach the architect’s density calculation and statement of correctness.
2.4 | 5 points Attach the architect’s density calculation and statement of correctness.
2.5 | Mandatory and option for 5 points State which option(s) chosen. Option #1: Attach a context map demonstrating that the center of the site is within the required walk distances of the required number of services. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information. Option #2: Attach a context map to demonstrate that the center of the site is within the required distance of transit options. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information.
2.6 | Mandatory State the option chosen and how the design will meet the requirement. Attach a clear and detailed Site & Vicinity Map and indicate on the map the areas designated as open space for residents. Open space does not include streets, roadways, or tenant private outdoor areas, or areas inaccessible to residents.
2.7a | Mandatory for Urban only Attach a site map clearly illustrating the existing and proposed sidewalks and all-weather pathways and where they lead to.
2.7b | Rural & Tribal projects only, 3 or 5 points State how many separate connections the project will provide. Attach a site map demonstrating at least three separate connections to sidewalks or all-weather pathways in surrounding neighborhoods.
2.8 | 2 points State which two measures will be used and describe the implementation plan. If choosing car-sharing services or bicycle racks/storage, attach a site map identifying the space that will dedicated for the amenities.
2.9 | 5 points Provide a description and explanation that confirms the type of site.
2.1 | 3 points State which option the project will provide. Attach a detailed plan of how the requirements will be met. If selecting Options 1a or 1b, attach a site map identifying the growing space.
Section 2 Subtotal |  | 0
Section 3
3.1 | Mandatory State the conclusion of the ESA Phase 1 and that it was submitted with your application for funding. If you did not submit your ESA with your funding application, then attach it to the EPP.
3.2 | Mandatory State which BMP or local controls will be incorporated into the construction and site development plans and contracts. The actual erosion measures that will specifically be used on the site.
3.3a | Mandatory if providing landscaping Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 50% or more of the landscaped area as native and/or adaptive species.
3.3b | 5 points Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 100% or more of the landscaped area as native and/or adaptive species.
3.3c | up to 5 points State the number of trees and DBH of each. State that the project will not build within the drip line of the significant trees. Attach the arborist report which evaluates each significant tree’s life expectancy, health, future maintenance needs and safety. Attach a brief explanation regarding the property maintenance plan for the significant trees, given the arborist report conclusions. Attach a landscape plan showing existing significant trees, which trees are being preserved, and their relation to the building(s).
3.4 | Mandatory if installing irrigation State that drip and/or bubbler irrigation system will be used for all landscape planting beds and trees. State that turf and each type of bedding area will be separately zoned based on watering needs with a programmed zone manifold and/or timer/controller. State that a controller designed to eliminate irrigation overwatering will be installed.
3.5 | up to 6 points Attach the precipitation data location used, the appropriate rainfall event size, a site plan showing the total generating surfaces and calculated area for the project, and describe design features that will be implemented to meet the requirements, with an affidavit affirming that the design is sized to accommodate the target rainfall event - from the qualified design professional responsible for the design calculations.
3.6 | Mandatory State commitment to label all storm drains and inlets.
Section 3 Subtotal |  | 0
Section 4
4.1a | Mandatory State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. Toilets – 1.28 GPF (gallons per flush) or less. WaterSense labeled with MaP test performance at minimum 500g, Urinals- 0.5 gpf or less, WaterSense labeled, Showerheads – 2.0 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1.5 GPM or less, WaterSense labeled, Kitchen faucets – 2.0 GPM or less
4.1b | up to 6 points. State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. Toilets – 1.1 GPF (gallons per flush) or less. or a toilet with dual flush, one of the options being less than 1 GPF, 500gWaterSense labeled, Showerheads – 1.75 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1 GPM or less, WaterSense labeled, Kitchen faucets – 1.75 GPM or less
4.2 | 4 Points Attach a description of how sub-meter data will be tracked, who will be responsible for monitoring it, and how the data will be used (direct billing or back-charging residents for water/sewer costs, providing consumption feedback for conservation assistance, leak detection and isolation, etc.) For rehab only, if metering each dwelling unit is not feasible, attach an optimal measuring proposal.
4.3 | up to 12 points Option #1: State how the design will meet the requirement; how these details will be communicated to the plumbing contractor; and how they will be verified as compliant at construction. Option #2: State the percentage of the project’s water needs that will be supplied by rainwater and/or greywater. Also, attach an explanation of how the project’s total water need was determined and describe the design features (including cistern sizing calculation) that will be implemented to achieve the stated percentage.
4.4 | 7 points State how the design will meet the requirement; how the details will be communicated to the plumbing contractor: how proper installation will be confirmed.
Section 4 Subtotal |  | 0
Section 5
5.1a | New Construction Only
5.1b | Mandatory State the method chosen. For prescriptive, attach all finished insulation levels and U values of windows and list ventilation, air sealing, and duct sealing. For Simple Payback, attach the energy analysis on each of the mandatory prescriptive measures. For Savings-To-Investment, attach the TREAT analysis and a list of the WX measures.
5.2a | New Construction Only
5.2b | 5 points Attach the energy analysis identifying specific efficiency improvements meeting the 14-year simple payback that provide greater energy efficiency than the mandatory prescriptive measures. Note: If you choose this criterion, you cannot use ESDS 5.11, 5.12, 5.13.
5.3 | 4 points Attach documentation that shading devices on the building will provide the described solar access and shading. Include an illustration demonstrating shading at the required date and times.
5.4 | Mandatory for all projects providing appliances State that all clothes washers, dishwashers & refrigerators will be Energy Star. Do not send in product literature or spec sheets.
5.5 | 3 points State that the project will provide ENERGY STAR-labeled centralized laundry facilities and will not install in-unit washers or dryers or hook-ups. Facilitate on-site verification by the third party verifier.
5.6 | Mandatory State that 90% of lighting shall be fitted with LED luminaires or lamps. Do not send in product literature or spec sheets with the EPP.
5.7a | New Construction Only
5.7b | 2 points State the commitment to install individual or a sub-metered electric meter for each individual unit.
5.8a | up to 15 points State the renewable energy source. For solar electric systems, attach the design demonstrating this requirement using the National Renewable Energy Laboratory calculator PVWATTs. Documentation noting solar access shall be included on the plans. For wind generation projects, attach designs documenting annual power generation based on the following factors: The wind turbine power curve; average annual wind speed at the site; frequency distribution of the wind speed at the site and height of the tower.
5.8b | 1 point Explain the plan including orientation, unobstructed exposure, conduit route and location of terminations. Attach the design and engineering analysis that establishes the parameters of the installation that demonstrate the following: Orient buildings to permit access to sunlight, design and include south facing architectural elements on the roof for PV, reserve unobstructed roof areas where panels can be placed, run conduit from the prospective PV location to a central panel, as part of the general electrical work, and do not install wire inside the conduit until the photovoltaic panels are installed.
5.8c | up to 10 points Attach the plan for the size and type of solar water heating system including: the mounted orientation, the annual performance, how it supplies the annual percentage of domestic hot water, how it was calculated, and SRCC product information.
5.9 | Mandatory State the type of fuel, tank size, energy factor, and standby loss as applicable. Do not send in product literature or spec sheets.
5.1 | 2-5 points State the type of fuel, type of equipment, and energy rating. Do not send in product literature or spec sheets.
5.11 | 3 or 7 points State the category of points chosen and provide performance testing documentation, calculations, and explanation as soon as available. State the estimated date the information will be submitted.
5.12 | 10 points State the commitment to test and provide the performance testing documentation, calculations, and explanation as soon as available. State the estimated date the information will be submitted.
5.13 | 2, 5 or 7 points State the option chosen, how ducts will be fastened and sealed, and what insulation level will be installed. State that only Energy Star equipment will be used or provide the Heat Pump Performance Testing as soon as available. Do not send in product literature or spec sheets.
Section 5 Subtotal |  | 0
Section 6
6.1 | Mandatory State that all interior paints and primers will meet the standard.
6.2 | Mandatory State that all interior adhesives will comply with the most recent version of Rule 1168 of the South Coast Air Quality Management District.
6.3 | up to 5 points State the method chosen and that the approved contractor submittal of the construction waste plan will be available on the job site specifying how reusable/recyclable materials are redirected from the landfill and where each material goes. Also state that waste receipts will be available on the job site.
6.4 | up to 10 points Attach the list of environmentally preferable materials that will be used and note the specification requirement and/or the local production requirement.
6.5a | 2 points State which option is chosen. Also attach roof map showing all roofing areas with the type of roof specified. Clearly label and indicate on the map the areas specific to this criterion.
6.5b | 2 points if providing paving State that light-colored/high-albedo materials and/or an open-grid pavement, with a minimum Solar Reflective Index of 0.3 over at least 50 percent of the site’s hardscaped area will be used. Attach a map of all paved areas showing the portion that will reduce the heat-island effect and the type of material.
6.6 | up to 3 points State the socially sustainable products that will be used. Attach an explanation of each manufacturer, the product used in the project, and how they support a broader socially sustainable mission. Provide a website supporting your information or written documentation from the manufacturer with their contact information. Documentation will be provided to Commerce after construction bid.
Section 6 Subtotal |  | 0
Section 7
7.1 | Mandatory State that all particleboard, plywood, OSB, medium density fiberboard, cabinetry and any other applicable wood products will contain no added urea-formaldehyde and/or will be compliant with CARB Phase 2.
7.2a | If providing floor coverings, Mandatory State what floor coverings will be used and where and that they will meet the requirements of this criteria.
7.2b | 6 points State that in all rooms, carpet or flooring containing PVC or chlorine will not be installed.
7.3a | New Construction & Substantial Rehab only
7.3b | 3 points State Energy Star bathroom fans including how they will be controlled.
7.4a | New Construction only
7.4b | 3 points State that Energy Star kitchen fans will be installed and vented to the outdoors.
7.5 | Mandatory State that whole-house ventilation will be installed according to section 403 of the 2015 WSEC. State the size of fan, how the size was determined, the location, and how it is controlled. State that the installer report of performance testing will be available on site for the Third Party Verifier to review.
7.6 | Mandatory State that clothes dryers will be exhausted to the exterior using rigid-type ductwork (from the connection point to the exterior exhaust), except for condensing and heat pump dryers, which must be plumbed to a drain.
7.7 | Mandatory State that there will be direct power vented or combustion sealed fossil fuel fired water heaters when in the conditioned space.
7.8 | Mandatory State that there will be smooth, durable, cleanable, water-proof surfaces in all wet areas.
7.9 | Mandatory State which materials for tub and shower enclosures will be used.
7.1 | Mandatory if project includes foundation work State the vapor barrier strategies that will be used in the project.
7.11 | Mandatory State whether the project is in a high risk radon county. If so, state that radon testing using the EPA protocols will be done and state type and duration of test. If radon testing shows 4 pCi/L or higher, state here the radon mitigation measures that will be installed. Facilitate post testing and ensure documentation verification is reviewed by the third party verifier.
7.12 | Mandatory State that all water drainage measures listed in this criterion will be followed. Note: For rehab, all measures which apply to the scope of work are required.
7.13a | New Construction Only
7.13b | New Construction & Substantial Rehab only
7.14 | Mandatory State that there will be a continuous air tight barrier between the living space and an attached garage, how it will be achieved, and the number of placements of CO monitors as necessary.
7.15 | Mandatory State that sealing of all penetrations will be done and include what materials will be used to prevent pest and rodent entry.
7.16 | Mandatory State the year when the buildings were constructed. For structures built before 1978, state that lead-safe work practices will be followed. Also state that the contractor performing the will must be Renovation, Repair and Painting certified at a minimum.
7.17 | Mandatory State that a smoke-free policy (including e-cigarettes) in all common and individual living areas, including decks and patios, in unit leases and within 25 feet of building entries or ventilation intakes (including operable windows) will be implemented and enforced. Also state that the lease language will prohibit smoking in these locations and that it is a violation of the lease to smoke. Provide a copy of the lease in the on-site binder for the Third Party Verifier to review on-site.
Section 7 Subtotal |  | 0
Section 8
8.1a | Mandatory State that a copy of the Building Maintenance Manual and the Unit Turnover Plan will be submitted to Commerce before the project is completed. State the estimated date of submittal. State the date the walk-through and orientation will be completed.
8.1b | 7 points State that the Building Operations and Maintenance instructions that will be permanently affixed to the building. State that the requirements regarding the location, instructions and walk-through will be followed.
8.2 | Mandatory State that the Emergency Management Manual will be submitted to Commerce before the project is completed and the estimated date of submittal.
8.3 | Mandatory State that the Resident Manual will be submitted to Commerce before the project is completed; include an estimated date of submittal. State how the orientations will be completed with new tenants and the plan for orientation at turnover. State that a record of the orientation will be submitted to Commerce after project development is completed and at least 90% occupied. The record should include the date of the orientation, who in each household received the orientation, and who on the management team gave the orientation; include an estimated date of submittal.
8.4 | Up to 8 points State which option chosen. State that the property management staff will collect and monitor project performance data on energy, water, and, if possible, healthy living environments for a minimum of five years and provide that information to Commerce.
8.5 | Mandatory State that educational signage and/or educational material will be provided onsite.
Section 8 Subtotal |  | 0
|  | 0 | TOTAL

## Sub Rehab
Criteria | Instructions | Points Claimed | Intended Method to Satisfy | Points Awarded
Section 1
1.1a | Mandatory Attach the Green Development Plan
1.1b | Up to 8 Points State the Option(s) chosen. In addition: Option #1 - Attach energy and water modeling documentation and a narrative explaining how these services informed decisions about design, construction and post-occupancy. Option #2 - Attach the life cycle cost analysis. Use the LCCA tool provided on ESDS websites. In addition, include a narrative detailing how the design team incorporated the use of the tool into their process, how, or if, design decisions were influenced by the process of using the tool, and suggestions for enhancements to the tool.
1.2 | Up to 3 Points State which option will be incorporated and list the features
1.3a | Mandatory State: (1) Which ESDS criterion will require Performance Verification. (2) Construction documents will include the Performance Verification requirements. (3) The installer will provide written verification that the systems operate as required, available on the jobsite. (4) Post installation, the Evergreen Coordinator, or independent consultant, will conduct performance testing & provide a summary report, available on the jobsite.
1.3b | Up to 12 State: (1) Which applicable systems will be included in the commissioning plan. (2) That a final commissioning report will be submitted to the Commerce’s Third Party Verifier upon completion. (3) The architect and MEP consultants will develop a Basis of Design (BOD) that will meet the Owner’s Project Requirements (at a minimum, the performance requirements established in 1.1); (4) Commissioning requirements will be incorporated into the construction documents.
1.4 | 3 or 6 Points Option #1 - attach a description of how the project design team intentionally developed spaces or features that help residents develop an inclusive sense of community and cultivate meaningful support networks. Describe the plan that on-site staff will follow to encourage residents to use the spaces as intended. Option #2 - attach a description for how the resident population will participate in discussions regarding the sustainability of the project. Describe how the advisory board or governance structure will be formed, who will be responsible for managing the process, and how the resident population might participate.
Section 1 Subtotal |  | 0
Section 2
2.1 | Mandatory Attach documentation from the local jurisdiction stating the zoning for the property, identification of any known critical areas or resource lands within 300 feet and any resulting development restrictions.
2.2 | New Construction Only
2.3 | Mandatory Attach the architect’s density calculation and statement of correctness.
2.4 | 5 points Attach the architect’s density calculation and statement of correctness.
2.5 | Mandatory and option for 5 points State which option(s) chosen. Option #1: Attach a context map demonstrating that the center of the site is within the required walk distances of the required number of services. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information. Option #2: Attach a context map to demonstrate that the center of the site is within the required distance of transit options. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information.
2.6 | Mandatory State the option chosen and how the design will meet the requirement. Attach a clear and detailed Site & Vicinity Map and indicate on the map the areas designated as open space for residents. Open space does not include streets, roadways, or tenant private outdoor areas, or areas inaccessible to residents.
2.7a | Mandatory for Urban only Attach a site map clearly illustrating the existing and proposed sidewalks and all-weather pathways and where they lead to.
2.7b | Rural & Tribal projects only, 3 or 5 points State how many separate connections the project will provide. Attach a site map demonstrating at least three separate connections to sidewalks or all-weather pathways in surrounding neighborhoods.
2.8 | 2 points State which two measures will be used and describe the implementation plan. If choosing car-sharing services or bicycle racks/storage, attach a site map identifying the space that will dedicated for the amenities.
2.9 | 5 points Provide a description and explanation that confirms the type of site.
2.1 | 3 points State which option the project will provide. Attach a detailed plan of how the requirements will be met. If selecting Options 1a or 1b, attach a site map identifying the growing space.
Section 2 Subtotal |  | 0
Section 3
3.1 | Mandatory State the conclusion of the ESA Phase 1 and that it was submitted with your application for funding. If you did not submit your ESA with your funding application, then attach it to the EPP.
3.2 | Mandatory State which BMP or local controls will be incorporated into the construction and site development plans and contracts. The actual erosion measures that will specifically be used on the site.
3.3a | Mandatory if providing landscaping Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 50% or more of the landscaped area as native and/or adaptive species.
3.3b | 5 points Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 100% or more of the landscaped area as native and/or adaptive species.
3.3c | up to 5 points State the number of trees and DBH of each. State that the project will not build within the drip line of the significant trees. Attach the arborist report which evaluates each significant tree’s life expectancy, health, future maintenance needs and safety. Attach a brief explanation regarding the property maintenance plan for the significant trees, given the arborist report conclusions. Attach a landscape plan showing existing significant trees, which trees are being preserved, and their relation to the building(s).
3.4 | Mandatory if installing irrigation State that drip and/or bubbler irrigation system will be used for all landscape planting beds and trees. State that turf and each type of bedding area will be separately zoned based on watering needs with a programmed zone manifold and/or timer/controller. State that a controller designed to eliminate irrigation overwatering will be installed.
3.5 | up to 6 points Attach the precipitation data location used, the appropriate rainfall event size, a site plan showing the total generating surfaces and calculated area for the project, and describe design features that will be implemented to meet the requirements, with an affidavit affirming that the design is sized to accommodate the target rainfall event - from the qualified design professional responsible for the design calculations.
3.6 | Mandatory State commitment to label all storm drains and inlets.
Section 3 Subtotal |  | 0
Section 4
4.1a | Mandatory State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. Toilets – 1.28 GPF (gallons per flush) or less. WaterSense labeled with MaP test performance at minimum 500g, Urinals- 0.5 gpf or less, WaterSense labeled, Showerheads – 2.0 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1.5 GPM or less, WaterSense labeled, Kitchen faucets – 2.0 GPM or less
4.1b | up to 6 points State the flow rates, WaterSense, and MaP performance for applicable fixtures that will be installed. State that a minimum of 15% of units will complete performance verification according to the requirements in ESDS 1.3a. State that the project will comply with ESDS 4.4. Toilets – 1.1 GPF (gallons per flush) or less. or a toilet with dual flush, one of the options being less than 1 GPF, 500gWaterSense labeled, Showerheads – 1.75 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1 GPM or less, WaterSense labeled, Kitchen faucets – 1.75 GPM or less
4.2 | 4 Points Attach a description of how sub-meter data will be tracked, who will be responsible for monitoring it, and how the data will be used (direct billing or back-charging residents for water/sewer costs, providing consumption feedback for conservation assistance, leak detection and isolation, etc.) For rehab only, if metering each dwelling unit is not feasible, attach an optimal measuring proposal.
4.3 | up to 12 points Option #1: State how the design will meet the requirement; how these details will be communicated to the plumbing contractor; and how they will be verified as compliant at construction. Option #2: State the percentage of the project’s water needs that will be supplied by rainwater and/or greywater. Also, attach an explanation of how the project’s total water need was determined and describe the design features (including cistern sizing calculation) that will be implemented to achieve the stated percentage.
4.4 | 7 points State how the design will meet the requirement; how the details will be communicated to the plumbing contractor: how proper installation will be confirmed.
Section 4 Subtotal |  | 0
Section 5
5.1a | New Construction Only
5.1b | Mandatory State the method chosen. For prescriptive, attach all finished insulation levels and U values of windows and list ventilation, air sealing, and duct sealing. For Simple Payback, attach the energy analysis on each of the mandatory prescriptive measures. For Savings-To-Investment, attach the TREAT analysis and a list of the WX measures.
5.2a | New Construction Only
5.2b | 5 points Attach the energy analysis identifying specific efficiency improvements meeting the 14-year simple payback that provide greater energy efficiency than the mandatory prescriptive measures. Note: If you choose this criterion, you cannot use ESDS 5.11, 5.12, 5.13.
5.3 | 4 points Attach documentation that shading devices on the building will provide the described solar access and shading. Include an illustration demonstrating shading at the required date and times.
5.4 | Mandatory for all projects providing appliances State that all clothes washers, dishwashers & refrigerators will be Energy Star. Do not send in product literature or spec sheets.
5.5 | 3 points State that the project will provide ENERGY STAR-labeled centralized laundry facilities and will not install in-unit washers or dryers or hook-ups. Facilitate on-site verification by the third party verifier.
5.6 | Mandatory State that 90% of lighting shall be fitted with LED luminaires or lamps. Do not send in product literature or spec sheets with the EPP.
5.7a | New Construction Only
5.7b | 2 points State the commitment to install individual or a sub-metered electric meter for each individual unit.
5.8a | up to 15 points State the renewable energy source. For solar electric systems, attach the design demonstrating this requirement using the National Renewable Energy Laboratory calculator PVWATTs. Documentation noting solar access shall be included on the plans. For wind generation projects, attach designs documenting annual power generation based on the following factors: The wind turbine power curve; average annual wind speed at the site; frequency distribution of the wind speed at the site and height of the tower.
5.8b | 1 point Explain the plan including orientation, unobstructed exposure, conduit route and location of terminations. Attach the design and engineering analysis that establishes the parameters of the installation that demonstrate the following: Orient buildings to permit access to sunlight, design and include south facing architectural elements on the roof for PV, reserve unobstructed roof areas where panels can be placed, run conduit from the prospective PV location to a central panel, as part of the general electrical work, and do not install wire inside the conduit until the photovoltaic panels are installed.
5.8c | up to 10 points Attach the plan for the size and type of solar water heating system including: the mounted orientation, the annual performance, how it supplies the annual percentage of domestic hot water, how it was calculated, and SRCC product information.
5.9 | Mandatory State the type of fuel, tank size, energy factor, and standby loss as applicable. Do not send in product literature or spec sheets.
5.1 | 2-5 points State the type of fuel, type of equipment, and energy rating. Do not send in product literature or spec sheets.
5.11 | 3 or 7 points State the category of points chosen and provide performance testing documentation, calculations, and explanation as soon as available. State the estimated date the information will be submitted.
5.12 | 10 points State the commitment to test and provide the performance testing documentation, calculations, and explanation as soon as available. State the estimated date the information will be submitted.
5.13 | 2, 5, 7, points State the option chosen, how ducts will be fastened and sealed, and what insulation level will be installed. State that only Energy Star equipment will be used or provide the Heat Pump Performance Testing as soon as available. Do not send in product literature or spec sheets.
Section 5 Subtotal |  | 0
Section 6
6.1 | Mandatory State that all interior paints and primers will meet the standard.
6.2 | Mandatory State that all interior adhesives will comply with the most recent version of Rule 1168 of the South Coast Air Quality Management District.
6.3 | up to 5 points State the method chosen and that the approved contractor submittal of the construction waste plan will be available on the job site specifying how reusable/recyclable materials are redirected from the landfill and where each material goes. Also state that waste receipts will be available on the job site.
6.4 | up to 10 points Attach the list of environmentally preferable materials that will be used and note the specification requirement and/or the local production requirement.
6.5a | 2 points State which option is chosen. Also attach roof map showing all roofing areas with the type of roof specified. Clearly label and indicate on the map the areas specific to this criterion.
6.5b | 2 points if providing paving State that light-colored/high-albedo materials and/or an open-grid pavement, with a minimum Solar Reflective Index of 0.3 over at least 50 percent of the site’s hardscaped area will be used. Attach a map of all paved areas showing the portion that will reduce the heat-island effect and the type of material.
6.6 | up to 3 points State the socially sustainable products that will be used. Attach an explanation of each manufacturer, the product used in the project, and how they support a broader socially sustainable mission. Provide a website supporting your information or written documentation from the manufacturer with their contact information. Documentation will be provided to Commerce after construction bid.
Section 6 Subtotal |  | 0
Section 7
7.1 | Mandatory State that all particleboard, plywood, OSB, medium density fiberboard, cabinetry and any other applicable wood products will contain no added urea-formaldehyde and/or will be compliant with CARB Phase 2.
7.2a | Mandatory if providing floor coverings State what floor coverings will be used and where and that they will meet the requirements of this criteria.
7.2b | 6 points State that in all rooms, carpet or flooring containing PVC or chlorine will not be installed.
7.3a | Mandatory State Energy Star bathroom fans including how they will be controlled.
7.3b | Moderate Rehab only
7.4a | New Construction only
7.4b | 3 points State that Energy Star kitchen fans will be installed and vented to the outdoors.
7.5 | Mandatory State that whole-house ventilation will be installed according to section 403 of the 2015 WSEC. State the size of fan, how the size was determined, the location, and how it is controlled. State that the installer report of performance testing will be available on site for the Third Party Verifier to review.
7.6 | Mandatory State that clothes dryers will be exhausted to the exterior using rigid-type ductwork (from the connection point to the exterior exhaust), except for condensing and heat pump dryers, which must be plumbed to a drain.
7.7 | Mandatory State that there will be direct power vented or combustion sealed fossil fuel fired water heaters when in the conditioned space.
7.8 | Mandatory State that there will be smooth, durable, cleanable, water-proof surfaces in all wet areas.
7.9 | Mandatory State which materials for tub and shower enclosures will be used.
7.1 | Mandatory if project includes foundation work State the vapor barrier strategies that will be used in the project.
7.11 | Mandatory State whether the project is in a high risk radon county. If so, state that radon testing using the EPA protocols will be done and state type and duration of test. If radon testing shows 4 pCi/L or higher, state here the radon mitigation measures that will be installed. Facilitate post testing and ensure documentation verification is reviewed by the third party verifier.
7.12 | Mandatory State that all water drainage measures listed in this criterion will be followed. Note: For rehab, all measures which apply to the scope of work are required.
7.13a | Only for New Construction
7.13b | up to 10 points State the option(s) chosen and how the objective will be achieved. State that inspection reports and photos of any mockups will be available on job site.
7.14 | Mandatory State that there will be a continuous air tight barrier between the living space and an attached garage, how it will be achieved, and the number of placements of CO monitors as necessary.
7.15 | Mandatory State that sealing of all penetrations will be done and include what materials will be used to prevent pest and rodent entry.
7.16 | Mandatory State the year when the buildings were constructed. For structures built before 1978, state that lead-safe work practices will be followed. Also state that the contractor performing the will must be Renovation, Repair and Painting certified at a minimum.
7.17 | Mandatory State that a smoke-free policy (including e-cigarettes) in all common and individual living areas, including decks and patios, in unit leases and within 25 feet of building entries or ventilation intakes (including operable windows) will be implemented and enforced. Also state that the lease language will prohibit smoking in these locations and that it is a violation of the lease to smoke. Provide a copy of the lease in the on-site binder for the Third Party Verifier to review on-site.
Section 7 Subtotal |  | 0
Section 8
8.1a | Mandatory State that a copy of the Building Maintenance Manual and the Unit Turnover Plan will be submitted to Commerce before the project is completed. State the estimated date of submittal. State the date the walk-through and orientation will be completed.
8.1b | 7 points State that the Building Operations and Maintenance instructions that will be permanently affixed to the building. State that the requirements regarding the location, instructions and walk-through will be followed.
8.2 | Mandatory State that the Emergency Management Manual will be submitted to Commerce before the project is completed and the estimated date of submittal.
8.3 | Mandatory State that the Resident Manual will be submitted to Commerce before the project is completed; include an estimated date of submittal. State how the orientations will be completed with new tenants and the plan for orientation at turnover. State that a record of the orientation will be submitted to Commerce after project development is completed and at least 90% occupied. The record should include the date of the orientation, who in each household received the orientation, and who on the management team gave the orientation; include an estimated date of submittal.
8.4 | Up to 8 points State which option chosen. State that the property management staff will collect and monitor project performance data on energy, water, and, if possible, healthy living environments for a minimum of five years and provide that information to Commerce.
8.5 | Mandatory State that educational signage and/or educational material will be provided onsite.
Section 8 Subtotal |  | 0
|  | 0 | TOTAL

## DROPDOWNS (hidden)
Mandatory | n/a
X
zero_to_ten_by_twos | 0
2
4
6
8
10
zero_to_three | 0
1
2
3
zero_to_eight_by_twos | 0
2
4
6
8
zero_to_twelve_by_twos | 0
2
4
6
8
10
12
zero_three_or_six | 0
3
6
mandatory_or_two | n/a
X
2
zero_or_five | 0
5
mandatory_or_five | n/a
X
5
zero_three_or_five | 0
3
5
zero_or_two | 0
2
zero_or_three | 0
3
zero_thru_5 | 0
1
2
3
4
5
zero_to_six_by_twos | 0
2
4
6
zero_through_six | 0
1
2
3
4
5
6
zero_or_four | 0
4
zero_thru_six_and_twelve | 0
1
2
3
4
5
6
8
10
12
zero_or_seven | 0
7
zero_to_25_by_fives | 0
5
10
15
20
25
zero_thru_four | 0
1
2
3
4
zero_or_one | 0
1
zero_thru_fifteen | 0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
zero_to_ten_by_halves | 0
0.5
1
1.5
2
2.5
3
3.5
4
4.5
5
5.5
6
6.5
7
7.5
8
8.5
9
9.5
10
zero_or_six | 0
6
zero_to_eight_skips | 0
2
3
5
6
8
zero_three_five_eight | 0
3
5
8
zero_two_five | 0
2
5
zero_three_seven | 0
3
7
zero_or_ten | 0
10
zero_two_five_seven | 0
2
5
7
zero_thru_ten | 1
2
3
4
5
6
7
8
9
10
zero_thru_ten_skips | 0
2
3
5
6
8
10