## Sheet1
Any Property 1234 Anywhere RD Anytown, Washington 98xxx | [11 empty] | Avg. EUL: Average Expected Useful Life Eff. Age: Effective Age RUL: Remaining Useful Life based on 8/2004 opening date 9/2008 current date |  |  |  |  | Reserve Term 20yrs Inflation Rate 4.0% Building Age: 4 Number of Units 25
[5 empty] | 20 YEAR CAPITAL REPLACEMENT RESERVE ANALYSIS | [6 empty] | Probable Replacement Dates are listed below
COMPONENT OR SYSTEM | AVG. EUL (yrs) | Eff. Age (yrs) | RUL (yrs) | Qty | Unit | Unit Cost $ | Expected Replac. Cost | Comments | 2008 | 2010 | 2012 | 2014 | 2016 | 2018 | 2020 | 2022 | 2024 | 2026 | Total Capital Flow
SITE
Remove or Replace Failed Asphalt | 25 | 6 | 19 | 0 | sq. ft. | 6 | 0 | not req'd | [10 empty] | 0
Sealant cost for Asphalt | 10 | 6 | 4 | 12775 | sq. ft. | 0.75 | 9581.25 |  |  |  | 9581.25 |  |  |  |  | 9581.25 |  |  | 19162.5
Restripe parking stalls | 8 | 6 | 2 | 1 | allow | 800 | 800 |  |  | 800 |  |  |  | 800 |  |  |  | 800 | 2400
Remove or Replace lifted Concrete | 40 | 6 | 34 | 0 | sq. ft. | 10 | 0 | allowance |  |  | 300 |  |  |  | 300 |  |  | 300 | 900
Landscaping Pruning/Replanting | 50 | 6 | 44 | 0 | allow | 1400 | 0 | Replace Large Trees and overgrown bushes | [10 empty] | 0
Replace Perimeter Fence | 15 | 6 | 9 | 220 | lin. Ft | 45 | 9900 | [5 empty] | 9900 |  |  |  |  | 9900 | 19800
Replace Garbage enclosure | 25 | 6 | 19 | 81 | lin. Ft. | 35 | 2835 | [10 empty] | 2835 | 2835
Replace Site Lighting | 40 | 6 | 34 | 5 | fixt. | 750 | 3750 | allowance |  |  |  | 938 |  | 938 |  | 938 |  | 938 | 3752
Replace/Repaint Site Signage | 12 | 6 | 6 | 1 |  | 500 | 500 | [5 empty] | 500 |  |  |  |  | 500 | 1000
0
EXTERIORS | [18 empty] | 0
Periodic scraping and repainting (trim) | 10 | 6 | 4 | 1 | allow | 600 | 600 |  |  |  | 600 |  |  |  | 600 |  |  |  | 1200
Full Body Painting | 30 | 6 | 24 | 0 | sq. ft. | 2 | 0 | vinyl siding |  | 0 | [5 empty] | 0 |  |  | 0
Painting of Ext. Doors (Metal) | 8 | 6 | 2 | 7 | each | 150 | 1050 |  |  |  | 1050 |  |  |  | 1050 |  |  | 1050 | 3150
Replace Exterior Doors | 40 | 6 | 34 | 7 | each | 500 | 3500 | [7 empty] | 1400 |  | 1400 | 700 | 3500
Replace Exterior Door Hardware | 25 | 6 | 19 | 7 | each | 150 | 1050 | [8 empty] | 150 | 450 | 450 | 1050
Replace Door Assistance Hardware | 10 | 6 | 4 | 1 | each | 5800 | 5800 |  |  |  | 5800 |  |  |  | 5800 |  |  |  | 11600
Replace Windows, glazing and sash only | 30 | 6 | 24 | 110 | allow | 250 | 27500 | [11 empty] | 0
Roof Replacement | 25 | 6 | 19 | 13235 | sq. ft | 3.75 | 49631.25 | [7 empty] | 12408 | 12408 | 12408 | 12408 | 49632
Gutters, downspouts | 25 | 6 | 19 | 250 | lin. Ft. | 15 | 3750 | [7 empty] | 937 | 937 | 937 | 937 | 3748
Replace Bldg mounted lighting | 25 | 6 | 19 | 8 | each fixture | 125 | 1000 | [9 empty] | 1000 |  | 1000
0
INTERIORS | [18 empty] | 0
Repaint--Halls and Stairs | 8 | 4 | 4 | 1 | allow | 10000 | 10000 |  |  | 10000 |  |  |  | 10000 |  |  |  | 10000 | 30000
Replace carpet, pad--Halls and Stairs | 10 | 4 | 6 | 6000 | sq. ft. | 4 | 24000 |  |  |  | 24000 |  |  |  |  | 24000 |  |  | 48000
Replace Carpet in other Common Area | 10 | 4 | 6 | 1800 | sq. ft. | 4 | 7200 |  |  |  | 7200 |  |  |  |  | 7200 |  |  | 14400
Replace Vinyl, common areas | 25 | 4 | 21 | 400 | sq. ft. | 6 | 2400 | [10 empty] | 2400 | 2400
Replace light fixtures--Common areas, Halls, Stairs | 15 | 4 | 11 | 60 | each | 100 | 6000 | [6 empty] | 6000 |  |  |  | 6000 | 12000
Replace unit entry doors | 30 | 4 | 26 | 25 | each | 350 | 8750 | [11 empty] | 0
Replace unit swing doors | 30 | 4 | 26 | 40 | each | 100 | 4000 | [11 empty] | 0
Replace unit entry hardware | 30 | 4 | 26 | 25 | each | 150 | 3750 |  |  | 938 |  |  | 938 |  |  | 938 |  | 936 | 3750
Replace unit interior door hardware | 30 | 4 | 26 | 40 | each | 75 | 3000 |  |  | 750 |  |  | 750 |  |  | 750 |  | 750 | 3000
Replace unit interior sliding doors | 35 | 4 | 31 | 25 | each | 210 | 5250 | failure rate of 3/10yrs |  | 630 |  |  |  |  | 630 |  |  |  | 1260
Repaint--Units | 7 | 4 | 3 | 25 | each | 300 | 7500 | Done during Unit Turns |  |  | SEE ANNUAL OPERATING EXPENSES | [7 empty] | 0
Replace carpet, pad--Units | 10 | 4 | 6 | 25 | each | 1000 | 25000 | Done during Unit Turns |  |  | SEE ANNUAL OPERATING EXPENSES | [7 empty] | 0
Replace Vinyl, base--Units | 15 | 4 | 11 | 25 | each | 300 | 7500 | Done during Unit Turns |  |  | SEE ANNUAL OPERATING EXPENSES | [7 empty] | 0
Replace Refrigerator | 12 | 4 | 8 | 25 | each | 470 | 11750 | [5 empty] | 2937 | 2937 | 2938 | 2938 |  |  | 11750
Replace Range Hood Fans | 25 | 4 | 21 | 25 | each | 50 | 1250 | [6 empty] | 1250 |  |  |  |  | 1250
Replace Range/Oven | 15 | 4 | 11 | 25 | each | 450 | 11250 |  |  |  |  | 5737.5 | 5737.5 | 5737.5 | 5737.5 |  |  |  | 22950
Replace/Resurface Countertops--Kitchen and Bathroom | 15 | 4 | 11 | 25 | each | 250 | 6250 |  |  |  | 2550 | 2550 | 2550 | 2550 | 2550 |  |  |  | 12750
Replace Cabinets--Kitchen and Bathroom | 25 | 4 | 21 | 25 | each | 2675 | 66875 | [10 empty] | 13642 | 13642
Replace kitchen sinks and faucets | 20 | 4 | 16 | 25 | each | 215 | 5375 | [8 empty] | 1791 | 1791 | 1791 | 5373
Replace bathroom sinks and faucets | 30 | 4 | 26 | 25 | each | 155 | 3875 | [8 empty] | 968 | 968 | 968 | 2904
Replace Tub surrounds | 25 | 4 | 21 | 25 | each | 1200 | 30000 | appx 2 per 8yrs |  |  | 3600 |  |  |  | 3600 |  |  | 3600 | 10800
Shower heads (Low Flow) Replacement | 25 | 4 | 21 | 25 | each | 50 | 1250 | [9 empty] | 1250 |  | 1250
Toilets--(Low Flow) Replacement | 20 | 4 | 16 | 25 | each | 250 | 6250 | [7 empty] | 1562 | 1562 | 1562 | 1562 | 6248
Replacement of Window Blinds | 8 | 4 | 4 | 45 | windows | 35 | 1575 | During Unit Turnovers |  |  |  |  | 787 |  |  |  | 787 |  | 1574
Replacement of Window Sills | 15 | 4 | 11 | 0 | windows | 50 | 0 | Upgrade to P-Lam During Unit Turns | [10 empty] | 0
Replacement of unit wall heaters | 25 | 4 | 21 | 40 | each | 75 | 3000 | [7 empty] | 750 | 750 | 750 | 750 | 3000
Repaint Common Areas | 10 | 4 | 6 | 1600 | sq. ft. | 2 | 3200 |  |  |  |  | 3200 | [6 empty] | 3200
Replace Water Heaters | 12 | 4 | 8 | 2 | each | 12000 | 24000 | [5 empty] | 24000 | [5 empty] | 24000
Replacement of common area heaters | 15 | 4 | 11 | 3 | each | 150 | 450 |  |  |  | 450 | [6 empty] | 450 | 900
Replace Smoke Detectors and batteries | 10 | 4 | 6 | 40 | each | 20 | 800 | As needed (10 yr cycle)-Once done are marked w/ 1/4 red dot |  |  |  |  | 800 |  |  |  | 800 |  | 1600
Replace door intercom system | 10 | 4 | 6 | 1 | each | 5000 | 5000 | Suggest Domax Davis Door |  |  |  | 5000 |  |  |  |  | 5000 |  | 10000
Replace Dining Light Fixture | 20 | 4 | 16 | 25 | each | 50 | 1250 | [7 empty] | 1250 |  |  |  | 1250
Replace GFIC in Kitchen | 50 | 4 | 46 | 50 | each | 15 | 750 | [11 empty] | 0
Replace Bathroom exhaust fan | 15 | 4 | 11 | 25 | each | 11 | 275 | [7 empty] | 275 |  |  |  | 275
HVAC system replace | 30 | 4 | 26 | 1 | each | 12000 | 12000 | verify price | [10 empty] | 0
0
UNINFLATED COST | Annual Capital Needs | [7 empty] | 0 | 13118 | 55131.25 | 17425.5 | 48899.5 | 30212.5 | 41787.5 | 64911.25 | 29103 | 73667 | 374255.5
| INFLATION FACTOR IS FIGURED AT 4% | [6 empty] | 1.04 | 1.125 | 1.217 | 1.316 | 1.423 | 1.539 | 1.665 | 1.801 | 1.948 | 2.107 | 2.279
INFLATED COST | ANNUAL CAPITAL NEEDS w/ INFLATION | [7 empty] | 0 | 15964.606 | 72552.725 | 24796.4865 | 75256.3305 | 50303.8125 | 75259.2875 | 126447.115 | 61320.021 | 167887.093 | 669787.477
| WSST ( Snohomish Co.-- Everett) | [6 empty] | 8.9% | 0 | 1420.8499 | 6457.1925 | 2206.8873 | 6697.8134 | 4477.0393 | 6698.0766 | 11253.7932 | 5457.4819 | 14941.9513 | 59611.0855
| Total Capital Replacements ( Yr. 1) | [7 empty] | 0 | 17385.4559 | 79009.9175 | 27003.3738 | 81954.1439 | 54780.8518 | 81957.3641 | 137700.9082 | 66777.5029 | 182829.0443 | 729398.5625
| Existing Capital Replacements Reserve | [17 empty] | 0
| Initial Capitalization of Replacement Reserves (Interest shown Annually | [17 empty] | 0
| Annual Contribution to Reserves (unit/year inflation adj 4% | [17 empty] | 0
| Reserve fund Balance (end of year) | [17 empty] | 0
0