## Sheet1
Activity | Schedule | Performed by | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Lifesafety
Check MSD books to verify that all chemicals are covered | Monthly | Staff
Check smoke detector operations in common areas | Semi-annual | Staff
Fire extinguishers - inspect and document tags | Annually | Vendor
Check backflow preventors for proper operation | Annually | Vendor
Mechanical Systems
Check & clean air filter in apts and common areas replace as needed | Every 45 days | Tenant
Check & clean air filter in common areas replace as needed | Every 45 days | Maintenance
Clean sediment from hot water tanks | Annually | Maintenance
Exersise the hot water safety valve | Quarterly | Maintenance
Verify hot water temperatures 110 - 120 degrees | Semi-annual | Maintenance
Clean laundry rooms | Weekly | Maintenance
Check dryer vents and water connections on initial install and annual inspections | Varies | Staff
Common area heaters - check operations for winter and summer usage | Semi-annual | Maintenance
Exterior Checklist
Inspect all signage | Monthly | Maintenance
Check all exterior lighting for proper operation - replace as needed | Monthly | Maintenance
Remove cob webs around buildings | Quarterly | Maintenance
Check exhaust vent operations - repair as needed | Quarterly | Maintenance
Clean dumpster area | Weekly | Maintenance
Check Exterior Door alignment & weather stripping at turnover and annual inspection | Varies | Staff
Check windows for proper operation & no leaks at turnover and annual inspection | Varies | Staff
Monitor condition of paint & trim | Semi-annual | Maintenance
Monitor condition of walks, paving & curbs | Semi-annual | Maintenance
Check window screens, repair as needed at turnover and annual inspection | Varies | Staff
Wash down walkways | Varies | Maintenance
Check stairways and decks | Semi-annual | Maintenance
Clean windows in common areas | As Needed | Maintenance
Check bulliten boards for outdated materials | Monthly | Staff
Place bee traps around dumpsters and under decks in spring and summer | Varies | Maintenance
Inspect around buildings for insect infestations | Varies | Vendor
Inspect and adjust as needed the photocells controlling exterior lighting | Quarterly | Maintenance
Landscaping
Mowing, edging, weeding, clean-up (weekly during mowing season) | Varies | Maintenance
Fertilizing of lawns & Plants (spring and fall) | Semi-annual | Vendor
Monitor condition of grass, plants and beds | Monthly | Maintenance
Check sprinklers for proper coverage and breakage | Weekly | Maintenance
Verify that dirt and bark is not on sidewalks | Weekly | Maintenance
Trim trees as needed | Annually | Maintenance
Trim shrubs and roses | Semi-annual | Maintenance
Startup irrigation system and check complete operation | Semi-annual | Maintenance
Blowout Irrigation system for winter season | Semi-annual | Vendor
Roof & Attic Areas
Attic heaters - check operations for winter and summer usage | Semi-annual | Maintenance
Clean gutters | Annually | Maintenance
Inspect roof for cracks & potential leaks | Annually | Maintenance
Inspect attic for water leakage, blocked ventilation | Annually | Maintenance
Make sure attic insulation is covering all pipes properly | Annually | Maintenance
Interior Checklist
Check unit condition following HQS standards | Annually | Staff
Strip and wax common area floors | Quarterly | Maintenance
Shampoo common area carpets | Annually | Vendor