ROUTINE MAINTENANCE SCHEDULE

| Task | Frequency | Month Task Performed |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | J | F | M | A | M | J | J | A | S | O | N | D |
| Inspections |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Interior (family project) | quarterly |  |  | x |  |  | x |  |  | x |  |  | x |
| Exterior/Grounds | monthly | x | x | x | x | x | x | x | x | x | x | x | x |
| Buildings - Roof |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Roof moss control | annual |  | x |  |  |  |  |  |  |  |  |  |  |
| Gutter re-nailing | semi-annual |  | x |  |  |  |  |  |  |  |  | x |  |
| Gutter and screen cleanout | quarterly |  | x |  |  | x |  |  | x |  |  | x |  |
| Downspout repair | annual |  |  |  |  |  |  |  |  |  |  | x |  |
| Facia/Flashing spot paint | annual |  |  |  |  |  |  | x |  |  |  |  |  |
| Roof vent inspect/re-nail | annual |  |  |  |  |  |  | x |  |  |  |  |  |
| Buildings - Exterior Walls |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash windows | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Caulk windows and doors | annual |  |  |  |  |  |  | x |  |  |  |  |  |
| Wash siding | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Spot paint siding | annual |  |  |  |  |  |  | x |  |  |  |  |  |
| Sweep cobwebs under eaves | bi-monthly |  |  |  | x |  | x |  | x |  | x |  |  |
| Wash exterior light fixtures | bi-monthly |  |  |  | x |  | x |  | x |  | x |  |  |
| Common Buildings (Laundry/Rec/Office/Restrooms) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash/vacuum floor | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| Wash windows | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Clean sink/toilet fixtures | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| Wastebasket removal | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| Dust behind laundry machines | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| 1 | monthly | x | x | x | x | x | x | x | x | x | x | x | x |
| Inspect/clean dryer lint screen | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| Inspect instructions/signs | monthly | x | x | x | x | x | x | x | x | x | x | x | x |
| Resupply bathroom | weekly | x | x | x | x | x | x | x | x | x | x | x | x |
| Buildings - Foundation |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Foundation vent covers | semi-annual |  |  |  | x |  |  |  |  |  |  | x |  |
| Foundation pest control | semi-annual |  |  |  | x |  |  |  |  |  |  | x |  |
| Inspect floor insulation | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Task | Frequency | Month Task Performed |  |  |  |  |  |  |  |  |  |  |  |
|  |  | J | F | M | A | M | J | J | A | S | O | N | D |
| Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grounds |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sidewalk crack repair | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Sidewalk moss control | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Parking lot sweep | monthly | x | x | x | x | x | x | x | x | x | x | x | x |
| Parking lot reseal | 5-years |  |  |  |  |  |  |  |  |  |  |  |  |
| Parking lot weed control | quarterly |  |  | x |  |  | x |  |  | x |  |  |  |
| Parking lot grease removal | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Garbage bin area cleanup | daily | x | x | x | x | x | x | x | x | x | x | x | x |
| Grounds paper/trash pickup | daily | x | x | x | x | x | x | x | x | x | x | x | x |
| After dark lights inspection | daily | x | x | x | x | x | x | x | x | x | x | x | x |
| Playground cleanup | daily | x | x | x | x | x | x | x | x | x | x | x | x |
| Fence inspection | monthly | x | x | x | x | x | x | x | x | x | x | x | x |
| Landscape - Irrigation |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sprinkler head repair | semi-annual |  |  |  | x |  |  | x |  |  |  |  |  |
| Sprinkler spray adjustment | monthly/seasonal |  |  |  | x | x | x | x | x | x | x |  |  |
| Reset controller timer | monthly/seasonal |  |  |  | x | x | x | x | x | x | x |  |  |
| Replace controller battery | annual |  |  |  | x |  |  |  |  |  |  |  |  |
| Landscape - Lawns |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mow grass | weekly/seasonal |  |  |  | xx | x | x | x | x | x | x | x |  |
| Edge lawns | monthly/seasonal |  |  |  | x | x | x | x | x | x | x | x |  |
| Fertilize lawns | quarterly/seasonal |  |  | x |  | x |  | x |  |  |  | x |  |
| Weed control | quarterly/seasonal |  |  | x |  | x | x | x |  |  |  |  |  |
| Aeration | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Landscape - Bark Beds/Trees |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prune limbs 6' over walkways | semi-annual |  |  | x |  |  |  | x |  |  |  |  |  |
| Prune limbs 6' over roofs | semi-annual |  |  | x |  |  |  | x |  |  |  |  |  |
| Prune limbs 3' from siding | semi-annual |  |  | x |  |  |  | x |  |  |  |  |  |
| Prune shrubs 1' from siding | semi-annual |  |  | x |  |  |  | x |  |  |  |  |  |
| Weed control | monthly/seasonal |  |  | x | x | x | x | x |  |  |  |  |  |
| Brush control on banks | annual |  |  |  |  |  | x |  |  |  |  |  |  |
| Project-specific Tasks |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dryer Vents Cleaned | annual |  |  |  |  |  |  |  | X |  |  |  |  |
| Fire Extinguisher Serviced | Annual |  |  |  |  |  |  |  | X |  |  |  |  |
| Backflow test | Annual |  |  |  |  |  |  |  | X |  |  |  |  |