## cover
This is the workbook <CCCT emission rate calculator.xlsx>. It contains the survey of CCCT greenhouse gas emission rates required by Revised Code of Washington 80.80.050.
This discussion draft edition was released on Monday, March 26 2012 and updated April 10. Final update Oct. 2 2012.
For technical assistance, contact Greg Nothstein of the Washington State Energy Office, tel. 360-725-3112, greg.nothstein@commerce.wa.gov.
The 2017 EPS Calculator was developed for the Technical subgroup draft on Dec. 11 2017
2017 CCCT emission rate calculator. Incorporated 2017 GTW CCCT performance parameters (net capacity and heat rate).
Dec. 11 vers C: The mix of CCCTs more closely (than Vers A) approximates the manufacturer and model shares purchased in the U.S. during 2012-17. Most of the largest CCCTs (2X1 systems) have been removed/adjusted out of the the mix and duplicates for common models were added to better approximate PNW purchase patterns (mostly 1X1 CCCTs).
Calculator input parameters have been altered relative to 2012/13 to reflect stakeholder commets - see notes in ref tab.
Jan 30 version: Alter CCCT mix to better match manufacturer shares and braod model categories (aero, mid/workhorse, advanced). One F.03 removed, one Siemens F class added.
Feb. 26 Draft EPS for Stakeholders

## ref
quantity | cell name | value | units | Definition | information source, 2012 | additional information, 2012 | additional 2012 notes | 2017 EPS ruelmaking notes | 2017/18 status
constants (inputs) | [8 empty] | Change relative to 2012/13
length of year |  | 8766 | h/yr | Period of emission assessment | 365 days per year, 24 hours per day |  |  | No change | increase to 8766, leap year
capacity factor |  | 70% | percent | Annual output as a percent of adjusted maximum rate capacity | Northwest Power and Conservation Council, Sixth Power Plan, Appendix I, 85% originally | Actual run hours in PNW vary widely between CCCTs and from year to year. | Baseload power plants in WA are permitted for 65%+ operation. | No change. Note that the final Calculator EPS value does not change when the capacity factor value is altered. It is neutral with respect to this parameter. | hold
natural gas LHV |  | 20263 | Btu/lb. | Lower Heating Value of natural gas | Alternative Fuels & Advanced Vehicles Data Center, U.S. Department of Energy, “Properties of Fuels.” | http://www.afdc.energy.gov/afdc/pdfs/fueltable.pdf |  | slightly different value, 20,160 btu/lb. http://www.afdc.energy.gov/afdc/pdfs/fueltable.pdf | hold
natural gas HHV |  | 22449 | Btu/lb. | Higher Heating Value of natural gas | Same ref. as above |  |  | slightly different value, 22,453 btu/lb.
system loss penalty | sysPenaltyGE | 2% | percent | Accounts for onsite power loss due to parasitic load. | Estimate using Gas Turbine World citation. Northwest Power and Conservation Council. | http://www.nwcouncil.org/energy/powerplan/6/default.htm | Air permit applic. suggest 2.3% losses to aux. needs. Note that GE CCCTs may be reported as quasi-net and therefore are likely less than 2.3%. Tech subgroup recommends 2%. | GTW gross vs net output already takes some system loss into account. Appears to be approx. 1 to 1.5% for GE, 0.5% for MPC, unknown for Siemens (but heat rate is listed as net value). | After review, hold
system loss penalty others | sysPenaltyOther | 2% | percent | SAA | Estimate using Gas Turbine World citation suggests 0.75 to 2+%. After discussion we recommend 2% which is likely a conservative value. | KEC and Carty applications suggestion parasitic loss of about 2-2.5% relative to GTW ratings (GTW gross or net?). NPCC 6th Plan specifies 0.9% derate from GTW value. | Removed M501, GE 6C & Alstom 11n-2 CCCTs, none sold last 5 years for baseload service - GTW reporting of orders. |  | Hold
ageing penalty GE | agePenaltyGE | 3.5% | percent | Reflects power and efficiency degradation due to long term operation of a CCCT. Power/efficiency can be recovered by maintenance measures, but there is a long-term decline in performance even with maintenance. | NPCC report - six year major maintenance cycle w/ 0.4% degradation per year, 98% recovery with 24K hr. overhaul. This implies 0.5% permanent degradation at 15-20 yrs., combine with 2.5% maintenance cycle degradation. We would expect 3% degradation at 90-100K hrs. After further research and discussion we recommend a 3.5% factor. | Ave. lifetime value of 2.1% is given in the NPCC text, with 2.5% intra cycle degradation. Avista presented value of 3.5% degradation at end of maintenance cycle, est. 24000 or 48000 hrs. | Original GE value was 2.5%. Tech group recommends 3.5% for all CCCTs. | Refer to the same GE chart as shown in 2012, showing 2.5% long-term reduction in thermal efficiency (1995, GE 7FA), w/ a higher % at end of maitenance cycle. Wartsila ICE shows up to 1.5% redux then full restoration with maintenance. GE LMS 100PA: -1.7% at 25,000 hrs, restored to -0.75% with maintenance, then -1.9% thermal eff. decline at 50,000 hrs. NPCC 7th plan work suggests 2-3% absolute loss after 20 years (their source is source GTW). |  | Hold Sytem loss/degradation: https://www.scribd.com/document/131340597/Degradation-Effects-on-Comined-Cycle-Power-Plant-Performance | Degradation Effects on CombinedCycle Power Plant Performance—Part III: Gas and Steam TurbineComponent Degradation Effects. A. I. ZwebekP. Pilidis | ASME Vol. 126, APRIL 2004 | TECHNICAL PAPERS: Gas Turbines: Cycle Innovations Degradation Effects on Combined Cycle Power Plant Performance—Part II: Steam Turbine Cycle Component Degradation Effects A. Zwebek and P. Pilidis [+] Author and Article Information J. Eng. Gas Turbines Power 125(3), 658-663 (Aug 15, 2003) (6 pages) doi:10.1115/1.1519272 History: Received December 01, 2000; Revised March 01, 2001; Online August 15, 2003 | J. Eng. Gas Turbines Power 125(3), 658-663 (Aug 15, 2003) (6 pages)
ageing penalty other | agePenaltyother | 3.5% | percent | SAA | Same as above | GTW 2-6% at 24,000, w/ most restored w/ maintenance. 1-1.5% permanent loss at 48,000 plus restorable. | Original value 3%, changed to 3.5% for all manufacturers per tech group recommendation. See above | See above | Hold
ageing penalty Siemens | agePenaltySiemens | 3.5% | percent | SAA | Same as above | Additional info. from PacifiCorp (Siemens) shows a nominal (smoothed) degradation curve of approx. 3.3% by 100k hours (16 years). Average is probably 3% degradation, and peak likely 4%. | Siemens value 3.5%, see above two entries | See above | Hold
default duct firing capacity | dfIncrement | 15% | percent | Duct firing is used to produce additional output at a CCCT during periods of high demand. It is a less efficient way to produce power. We assume a fixed duct firing capacity for this analysis. | NPCC and utility data. Current average of NW CCCTs: see table below. Average all 10.1%, but adjusted to 14.3% by excluding those w/o duct firing. PacifiCorp notes that we have not included several of their plants that are in the 15-20% range. These plants are in E. PacifiCorp (Utah) and are not rate based in WA. We believe that they largely service E. PacifiCorp load. Commerce final recommended value 15% duct firing capacity | Evolving value, see average in table below. PacifiCorp w/ backing by others on Tech subgroup recommend 16%. | PacifiCorp notes that they have consolidated several of their plants into one value and recommends 16%. We note several plant proposals coming in lower at 12-13.5% duct firing. Recommendation is for 15% duct firing value. | Avista IRP: Model 1 CCCT 6720 Btu/kWh, 7% duct firing capacity, at 7912 Btu/kWh. Model 2 CCCT 6631 Btu/kWh, 7% duct firing capacity at 7843 Btu/kWh (likely LHV). Pac Power 10, 12 and 22% duct firing capacity. Ref. suggests 5% eff loss over 30 yr for a steam turbine. http://www.geindustrial.com/publibrary/checko ut/GEA-13450A?TNR=Service%20and%20 Maintenance¦GEA-13450A¦generic | Hold | Apply HHV and ageing and system loss penalties | 9239.7638 | Apply ageing and system loss penalties | 8973.45
default duct firing heat rate | dfHeatRate | 9200 | BtuHHV/kWh | The heat rate of the supplemental duct firing. | Northwest Power and Conservation Council, Fifth Power Plan: New 9290 Btu/KWh , Ave. Lifetime: 9500 Btu/KWh. This is an older value and HRSG's are now more efficient. After further research and discussion we recommend 9400 Btu/kWh. | PacifiCorp: 2003 F class Siemens 9370 Btu/kWh. 2003 PowerGen Intl, Turbine Air Systems paper: Lifetime ave. 9050-9200 Btu/kWh. 2006 PowerGen Intl. Siemens paper, 8600-8700 Btu/kWh, same from KEC supporting documents. Various other applicants: 8800-9000 (clean, probably gross value). PacifiCorp 2011 IRP: approx. 9200 real. PSE 2011 IRP 9350, Avista 2011 IRP 9650 Btu/kWh | Original value 9500, changed to 9250 following review of several recent air permits. Later changed to 9400 following Tech subgroup mtg - recommended 9500. | Black and Veatch for 2017 PSE IRP: 8000-9000 Btu/Kwh HHV. PSE IRP uses 8500 Btu/kWh (likely a new CCCT value) and 15% duct firing capacity for their 2 examples: 7F.05, 359 MW, HR 6520 Btu/kWh and 7HA.01 405 MW, HR 6410 Btu/kWh (both net). See Avista duct firing heat rates above. | Decreased from 9400 to 9200 Btu/kWh | 3% HR improvement relative to 2012 | 9118 | 2% HR improvement relative to 2012 | 9212
default duct firing heat rate small plants | dfHeatRateS | 9550 | BtuHHV/kWh | SAA | Conversation with GE technical rep. suggested 9800 Btu/kWh for small CCCTs. We recommend using 9750 Btu/kWh. | The HRSG units on smaller CCCTs are less efficient than unites sized for larger CCCTs . | New factor added following suggestion by GE staff. | As with larger CCCTs improvements have likley been made for HRSG units assocatied with smaller CCCT power plants. | Decreased from 9750 to 9550 Btu/kWh | 3% HR improvement relative to 2012 | 9457.5 | 2% HR improvement relative to 2012 | 9555
duct firing hours | dfHours | 1840.86 | h/yr. | The number of hours that the less efficient duct firing is in operation during a one year period. | Commerce recommends 40% of CCCT operating hours to reflect more demanding operating conditions. | We started with NPCC value then lowered to 2100 hr. This was due to a higher number of operating hours in the NPCC work (85%) The value is evolving with discussion: input from by Ecology, Invenergy and SWCAA | Was 1972 hours/yr., but now reflects compromise with Tech group recommendation. Likely on the high end. | This parameter was controversial during 2012/13 rulemaking. | Very controversial in 2012. Reduced to 30% of oper. Hrs
duct firing rate | dfrate | 100% | percent | The percent of the maximum heat input to the duct firing units. | Duct firing fuel input varies from 0 to 100%. Eighty percent is likely on the high end. |  |  | Somewhat controversial during 2012/13 rulemaking. Discuss. | Set to 100%, either on or off.
NG CO2 emission factor | CO2Factor | 117.6 | lb./mmBtuHHV | The pounds of CO2 emitted when one million Btus of natural gas are burned | Dept. of Ecology WAC 173-407 (Part 1) the emission factor used for reporting of emissions for EPS compliance purpose. Recommend that Commerce use the same factor for consistency. | Previously used the national average of 116.98 lb./MMBtu. Source: https://www.eia.gov/environment/emissions/co2_vol_mass.php | PSE IRP p. 4-19 lists an emission factor of 115.9 lb./MMBtu. Tenaska proposes 118.6. |  | Hold
average ambient temperature |  | 15 | degC | Standard conditions under which base heat rate is determined. Not directly used in the calculations | International Standard Metric Conditions for natural gas, ISO 13443 and ISO standards 3977-2 |  |  |  | Hold
average ambient humidity |  | 60% | relative humidity | See above | Same as above
average ambient pressure |  | 101.325 | kPa | See above | Same as above
Start/stop/partial load adjustment | StartStopPartial | 7% | percent | The efficiency penalty incurred when a CCCT is operated under real world (less than ideal) conditions. | Commerce's recommended value is 6% | Proposed value informed by Avista recent CCCT application 4-5%, see below. Add 1% for stop start to arrive at 6% for this combined factor. This factor could change with future CCCT updates. | We created an extreme annual operational scenario (based on GE proprietary info) with 240 hot and 12 cold stop/starts and 25% time at partial load (12% Heat Rate penalty). The overall heat rate penalty was 7%, but since this was an extreme scenario and we recommend 6%. | Mentioned as an importatn input for discussion during 2017 meeting. | Increased from 6 to 7.0% to reflect more starts and freq. ramping to integrate renewables, EIM market etc.
Temperature and humidity adjustment factor | Climate | 1% | percent | This factor adjusts heat rate for operation of a CCCT at less than ideal operating temperature (usually means at a high ambient temperature of plus 90 F). | Temperature impact assessed as 0.75% on a time weighted basis. Humidity assessed as 0.25% on a time weighted basis. | GE reference documents. Climate adjustment option explored at Technical Subgroup Mtg, KEC (Siemens) power curves for 95 F operation shows approx. 2% efficiency penalty, divide by 3 (one third time at high or low temp) to arrive at 0.75% for annual average (time weighted) - our recommendation. | Add 1% for climate factor. Due to more moderate climate we believe that most WA and OR CCCTs are impacted less than 1%. |  | Hold
Inlet cooling and CCCT cooling adjustment factor | cooling | 1% | percent | This factor adjusts for the operation of CCCT cooling and an inlet cooling system. Inlet cooling increases CCCT capacity (MW) and counters CCCT degradation due to high temperature and humidity. | 0.5-5% on an instantaneous basis. Combined factor for inlet (air) cooling and overall CCCT cooling | GT-Pro, Avista presentation, existing new plant, conclusion 1000 lb./MWh was a reasonable and feasible EPS. | Most WA and OR CCCTs are water cooled. Air cooling is becoming more common due to water use constraints in some locations and reduces plant efficiency. Closed loop cooling is another common option. | Seeing similar value in recent PSE IRP reference material | Hold
calculated values (intermediate inputs)
operating time | opHours | 6136.2 | hr./yr.
HHV/LHV ratio | LHVtoHHV | 1.1079
Methane and nitrogen oxides |  | 0.025 | lb./MWh
output
nominal performance standard |  | 929.7311 | lb. GHG/MWh | DRAFT ILLUSTRATIVE NUMBER
Estimation of Duct Firing Percentage, 8/2012
Plant | Duct Burner MMBtu/hr. | Source | Duct firing Capacity MW | Capacity | % duct firing
Grays Harbor Units 1&2 | 1010 | Dept. of Ecology | 106.3158 | 650 | 16.36%
Chehalis Generation | None | Dept. of Ecology | 0 | 590 | 0%
Clark River Road | None | Dept. of Ecology | 0 |  | 0%
Goldendale | 323 | Dept. of Ecology | 34 | 280 | 12.14%
Mint Farm | 458 | Dept. of Ecology | 48.2105 | 319 | 15.11%
Fredrickson Power | 430 | Dept. of Ecology | 45.2632 | 318 | 14.23%
Sumas | None | Dept. of Ecology | 0 | 125 | 0%
Ecogen | None | Dept of Ecology | 0 | 125 | 0%
Big Hannaford | 420 | Dept of Ecology | 44.2105 | 268 | 16.5%
Tenaska | 500 | Dept of Ecology | 52.6316 | 270 | 19.49%
March Point | 489 | Dept of Ecology | 51.4737 | 167 | 30.82%
Pacific Corp example |  | Apr meeting |  |  | 20% | 14-24% (several CCCTs)
Hermiston Power Project |  | Power Council | 69 | 689 | 10.01%
Point Westward |  | Power Council | 25 | 399 | 6.266%
Coyote Springs 2 |  | Power Council | 25 | 281 | 8.897%
Coyote Springs 1 |  | Power Council | 5 | 265 | 1.887%
Ave |  |  |  |  | 10.73%
DRAFT ILLUSTRATIVE NUMBER
Proposed CCCTs |  |  |  | Excluding those w/o duct firing | 14.31%
Kalama Energy Center | 315 | 34 | 10.8% | Exclude highest and lowest | 10.06%
Carty Generating Station | 780 | 102 | 13.08% | Recommeded value 8/6/2012 | 15%
Carty Generating Station | 882 | 102 | 11.56%

## survey
Manufacturer and model type | Design year | Nominal class | Plant format | Net rated output | Gross clean and new heat rate | Higher Heat Value | Emission rate | Theoretical efficiency | Adjusted heat rate -net & ageing | Duct firing heat rate | Adjusted heat rate w/ duct firing | Heat rate adj. for stop/start/partial load | Heat rate adj. for Climate and Inlet Cooling | Theoretical efficiency | Fully Adjusted emission rate | Manufacturer market share | Impact on EPS value
| (not update yr) | (MB G equiv. to F) | (GT per ST) | MW | BtuLHV/kWh | BtuHHV/kWh | lb. GHG/MWh | Efficiency | BtuHHV/kWh | BtuHHV/kWh | BtuHHV/kWh | BtuHHV/kWh | BtuHHV/kWh | percent | lb. GHG/MWh
General Electric | [15 empty] | General Electric
F.03 | 1979 | F | 2x1 | 287 | 6439 | 7133.6481 | 838.917 | 47.84% | 7543.2464 | 9550 | 7972.9964 | 8531.1061 | 8702.5813 | 40.01% | 1023.4486 | 8 | Increase
F.04 | 2009 | F | 1x1 | 305 | 5715 | 6331.542 | 744.5893 | 53.9% | 6695.0851 | 9200 | 7109.0851 | 7606.7211 | 7759.6161 | 44.87% | 912.5559 |  | Hold
F.04 | 2009 | F | 1x1 | 305 | 5715 | 6331.542 | 744.5893 | 53.9% | 6695.0851 | 9200 | 7109.0851 | 7606.7211 | 7759.6161 | 44.87% | 912.5559 | 40% | Hold
F.05 | 2009 | F | 1x1 | 376 | 5660 | 6270.6085 | 737.4236 | 54.43% | 6630.653 | 9200 | 7044.653 | 7537.7787 | 7689.288 | 45.28% | 904.2853 |  | Hold | The 7F.05 series are being installed.
F.05 | 2009 | F | 1x1 | 376 | 5660 | 6270.6085 | 737.4236 | 54.43% | 6630.653 | 9200 | 7044.653 | 7537.7787 | 7689.288 | 45.28% | 904.2853 |  | Hold | The 7F.05 series are being installed.
HA.01 | 2012 | H | 1x1 | 436 | 5497 | 6090.0238 | 716.1868 | 56.04% | 6439.6995 | 9200 | 6853.6995 | 7333.4585 | 7480.861 | 46.54% | 879.7743 |  | Decrease | Newest, most efficient GE CCCT. HA.01 version installed in US. Better size fit for PNW
HA.02 | 2014 | H | 1x1 | 560 | 5408 | 5991.4224 | 704.5913 | 56.96% | 6335.4366 | 9200 | 6749.4366 | 7221.8972 | 7367.0573 | 47.26% | 866.3909 |  | Decrease | Newest, most efficient GE CCCT. HA.02 versions installed in US.
LM2500+G4 | 2005 | Aero | 2x1 | 101 | 6707 | 7430.5603 | 873.8339 | 45.93% | 7857.2066 | 9550 | 8286.9566 | 8867.0436 | 9045.2711 | 38.49% | 1063.7489 |  | Increase | Areo
Mitsubishi | [15 empty] | Mitsubishi
GAC | 2011 | G | 1x1 | 412.4 | 5735 | 6353.6996 | 747.1951 | 53.72% | 6718.515 | 9200 | 7132.515 | 7631.791 | 7785.19 | 44.72% | 915.5633 |  | Hold | Consider adding aero unit for MB
GAC | 2011 | G | 1x1 | 412.4 | 5735 | 6353.6996 | 747.1951 | 53.72% | 6718.515 | 9200 | 7132.515 | 7631.791 | 7785.19 | 44.72% | 915.5633 | 4 | Hold | Air cooled, equivalent to GE & Siemens F class
GAC | 2011 | G | 1x1 | 412.4 | 5735 | 6353.6996 | 747.1951 | 53.72% | 6718.515 | 9200 | 7132.515 | 7631.791 | 7785.19 | 44.72% | 915.5633 | 20% | Hold | Air cooled
J | 2011 | J | 1x1 | 470 | 5594 | 6197.4883 | 728.8246 | 55.07% | 6553.3344 | 9200 | 6967.3344 | 7455.0478 | 7604.8943 | 45.78% | 894.3606 |  | Decrease | The J models are being installed now, and the during survey period.
Siemens | [15 empty] | Siemens
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 |  | Hold
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 | 8 | Hold
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 | 40% | Hold
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 |  | Hold
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 |  | Hold
F | 1989 | F | 1 X 1 | 370 | 5863 | 6495.5084 | 763.8718 | 52.54% | 6868.4661 | 9200 | 7282.4661 | 7792.2388 | 7948.8628 | 43.8% | 934.8113 |  | Hold
H | 2010 | H | 1 X 1 | 460 | 5611 | 6216.3223 | 731.0395 | 54.9% | 6573.2498 | 9200 | 6987.2498 | 7476.3573 | 7626.632 | 45.65% | 896.9169 |  | Decrease | Installed during survey period
SG800 | 2010 | Aero | 2 X 1 | 143.6 | 6155 | 6819.0098 | 801.9155 | 50.05% | 7210.5422 | 9550 | 7640.2922 | 8175.1127 | 8339.4324 | 41.75% | 980.7423 |  | Increase | Areo, 2 units installed
Averages and totals
Averages (Heat Rate or Efficiency) |  |  |  |  | 5827.2 | 6455.8463 | 759.2075 | 52.99% | 6826.5267 |  | 7242.8892 | 7749.8914 | 7905.6642 | 44.14% | 929.7311 | Class of CCCT | count | percent |  |  | Manufacturer | EPS count
Delta H.R./Emissions | [5 empty] | 10.79% |  |  | 5.742% |  | 6.099% | 7% | 2.01% | 22.46% | 22.46% | Aero/small | 2 | 10% |  |  | General Electric | 8
Emission factor (lb/MWh) | [5 empty] | 759.2075 |  |  | 802.7995 |  | 851.7638 | 911.3872 | 929.7061 |  | Number CCCTs | Mid F/G | 14 | 70% |  |  | Siemens | 8
Std.Dev. (lb/MWh) | [5 empty] | 39.6079 |  |  | 41.8821 |  | 42.4669 | 45.4396 | 46.353 |  | 20 | Adv H/J | 4 | 20% |  |  | Mitsubishi | 4
[16 empty] | Total | 20 | 100% |  |  | Total | 20
DRAFT DOCUMENT | [15 empty] | Manufacturer and Model Shares: 2012-17 Survey
[16 empty] | Manufacturer | Model category |  |  | Total | Manuf. shares | EPS shares | Estimate | Count
[17 empty] | Small/aero | F/G class | H/J class |  |  |  | EPS total | EPS total
[16 empty] | General Electric | 5 | 23 | 3 | 31 | 40.26% | 40% | 8.0519 | 8
[16 empty] | Siemens | 2 | 19 | 8 | 29 | 37.66% | 40% | 7.5325 | 8
[16 empty] | Mitsubishi | 1 | 12 | 4 | 17 | 22.08% | 20% | 4.4156 | 4
[17 empty] | small/aero | F class | H class
[16 empty] | Survey Total | 8 | 54 | 15 | 77 | 100% | 100% | Total | 20
[16 empty] | Total % | 10.39% | 70.13% | 19.48%
[16 empty] | EPS shares | 10% | 70% | 20%
[16 empty] | Proposed category shares | 10% | 70% | 20%

## charts
Capital cost | emission rate
$/Kilowatt | lb/MWh
All CCCTs | All CCCTs
552 | 972.2704
568 | 942.7505
499 | 933.9614
644 | 1056.1399
806 | 1013.3859
546 | 927.1088
510 | 924.1294
495 | 943.7933
461 | 903.8696
569 | 949.0072
489 | 944.5381
853 | 1052.7137
582.6667 | 963.639
ave. | ave.